51. The e.m.f. generated by a shunt wound D.C. generator isE. Now while pole flux remains constant, if the speed of the generator is doubled, the e.m.f. generated will be

(a) E/2

(b) 2E

(c) slightly less than E

(d) E

Ans: b

52. In a D.C. generator the actual flux distribution depends upon

(a) size of air gap

(b) shape of the pole shoe

(c) clearance between tips of the ad¬jacent pole shoes

(d) all of the above

Ans:

53. The armature core of a D.C. generator is usually made of

(a) silicon steel

(b) copper

(c) non-ferrous material

(d) cast-iron

Ans: a

9.63. Satisfactory commutation of D.C. machines requires

(a) brushes should be of proper grade and size

(b) brushes should smoothly run in the holders

(c) smooth, concentric commutator properly undercut

(d) all of the above

Ans: d

54. Open circuited armature coil of a D.C. machine is

(a) identified by the scarring of the commutator segment to which open circuited coil is connected

(b) indicated by a spark completely around the commutator

(c) both (a) and (b)

(d) none of the above

Ans: c

55. In a D.C. machine, fractional pitch winding is used

(a) to increase the generated voltage

(b) to reduce sparking

(c) to save the copper because of shorter end connections

(d) due to (b) and (c) above

Ans:

56. For the parallel operation of two or more D.C. compound generators, we should ensure that

(a) voltage of the incoming generator should be same as that of bus bar

(b) polarity of incoming generator should be same as that of bus bar

(c) all the series fields should be run in parallel by means of equilizer connection

(d) series fields of all generators should be either on positive side or negative side of the armature

(e) all conditions mentioned above should be satisfied

Ans: d

57. D.C. series generator is used

(a) to supply traction load

(b) to supply industrial load at constant voltage

(c) voltage at the toad end of the feeder

(d) for none of the above purpose

Ans: c

58. Following D.C. generator will be in a position to build up without any residual magnetism in the poles

(a) series generator

(b) shunt generator

(c) compound generator

(d) self-excited generator

Ans: d

59. Interpole flux should be sufficient to

(a) neutralise the commutating self induced e.m.f.

(b) neutralise the armature reaction flux

(c) neutralise both the armature reaction flux as well as commutating e.m.f. induced in the coil

(d) perform none of the above functions

Ans: c

60. D.C. generator generally preferred for charging automobile batteries is

(a) series generator

(b) shunt generator

(c) long shunt compound generator

(d) any of'the above

Ans: c

61. In a D.C. generator the number of mechanical degrees and electrical degrees will be the same when

(a) r.p.m. is more than 300

(b) r.p.m. is less than 300

(c) number of poles is 4

(d) number of poles is 2

Ans: d

62. Permeance is the reciprocal of

(a) flux density

(b) reluctance

(c) ampere-turns

(d) resistance

Ans: b

63. In D.C. generators the polarity of the interpoles

(a) is the same as that of the main pole ahead

(b) is the same as that of the immediately preceding pole

(c) is opposite to that of the main pole ahead

(d) is neutral as these poles do not play part in generating e.m.f.

Ans: a

64. The e.m.f. generated in a D.C. generator is directly proportional to

(a) flux/pole

(b) speed of armature

(c) number of poles

(d) all of the above

Ans: b

65. In a D.C. generator the magnetic neutral axis coincides with the geometrical neutral axis, when

(a) there is no load on|he generator

(b) the generator runs on full load

(c) the generator runs on overload

(d) the generator runs on designed speed

Ans: a

66. In a D.C. generator in order to reduce sparking at brushes, the self-induced e.m.f. in the coil is neutralised by all of the following except

(a) interpoles

(b) dummy coils

(c) compensating winding

(d) shifting of axis of brushes

Ans: b

67. In D.C. generators on no-load, the air gap flux distribution in space is

(a) sinusoidal

(b) triangular

(c) pulsating

(d) flat topped

Ans: d

68. A shunt generator running at 1000 r.p.m. has generated e.m.f. as 200 V. If the speed increases to 1200 r.p.m., the generated e.m.f. will be nearly

(a) 150 V

(b) 175 V

(c) 240 V

(d) 290 V

Ans: c

69. The purpose of providing dummy coils in a generator is

(a) to reduce eddy current losses

(b) to enhance flux density

(c) to amplify voltage

(d) to provide mechanical balance for the rotor

Ans: d

70. In a shunt generator the voltage build up is generally restricted by

(a) speed limitation

(b) armature heating

(c) insulation restrictions

(d) saturation of iron

Ans:

71. If a D.C. generator fails to build up the probable cause could not be

(a) imperfect brush contact

(b) field resistance less than the critical resistance

(c) no residual magnetism in the generator

(d) faulty shunt connections tending to reduce the residual magnetism

Ans: b

72. Flashing the field of D.C. generator means

(a) neutralising residual magnetism

(b) creating residual magnetism by a D.C. source

(c) making the magnetic losses of forces parallel

(d) increasing flux density by adding extra turns of windings on poles

Ans: b

73. The e.m.f. induced in the armature of a shunt generator is 600 V. The armature resistance is 0.1 ohm. If the armature current is 200 A, the terminal voltage will be

(a) 640 V

(b) 620 V

(c) 600 V

(d) 580 V

Ans: d

74. In a D.C. generator the critical resistance refers to the resistance of

(a) brushes

(b) field

(c) armature

(d) load

Ans: b

75. To achieve sparkless commutation brushes of a D.C. generator are rockedm ahead so as to bring them

(a) just ahead of magnetic neutral axis

(b) in magnetic neutral axis

(c) just behind the magnetic neutral axis

Ans: a

76. Armature coil is short circuited by brushes when it lies

(a) along neutral axis

(b) along field axis

(c) in any of the above positions

(d) in none of the above positions

Ans: a

77. A cumulatively compounded long shunt generator when operating as a motor would be

(a) cumulatively compounded long shunt

(b) differentially compounded long shunt

(c) cumulatively compounded short shunt

(d) differentially compounded short shunt

Ans: b

78. To avoid formation of grooves in the commutator of a D.C. machine

(a) the brushes of opposite polarity should track each other

(b) the brushes of same polarity should track each other

(c) brush position has no effect on the commutator grooving

Ans: a

79. The following constitute short-circuit in the armature winding.

(a) Insulation failure between two com-mutator bars

(6) Insulation failure between two turns of a coil

(c) Two of more turns of the same coil getting grounded

(d) All of the above

Ans: d

80. The rapid wear of brushes takes place due to

(a) abrasion from dust

(b) excessive spring pressure

(c) rough commutator bars

(d) high mica insulation between com-mutation bars

(e) all of the above factors

Ans: e

81. Number of tappings for each equilizer ring is equal to

(a) number of pole pairs

(b) number of poles

(c) number of parallel paths

(d) number of commutator segments

Ans: a

82. A D.C. generator can be considered as

(a) rectifier

(b) primemover

(c) rotating amplifier

(d) power pump

Ans: c

83. In any rotating machine that part which houses the conductors and in which e.m.f. induced is to be utilised is called

(a) rotor

(b) stator

(c) field

(d) armature

Ans: d

84. In a D.C. machine stray loss is the sum of

(a) total copper loss and mechanical loss

(b) armature copper loss and iron loss

(c) shunt field copper loss and mechanical loss

(d) iron loss and mechanical loss

Ans: d

85. Lap winding is composed of

(a) any even number of conductors

(b) any odd number of conductors

(c) that even number which is exact multiple of poles + 2

(d) that even number which is exact multiple of poles

Ans: a

86. In a D.C. generator in case the resistance of the field winding is increased, then output voltage will

(a) increase

(b) decrease

(c) remain unaffected

(d) fluctuate heavily

Ans: b

87. An exciter for a turbo generator is a

(a) separately excited generator

(b) shunt generator

(c) series generator

(d) compound generator

Ans: b

88. In case of a flat compounded generator

(a) voltage generated is less than the rated voltage

(b) generated voltage is proportional to the load on the generator

(c) voltage remains constant irrespec¬tive of the load

(d) speed varies in proportion to the load on the generator

Ans: c

89. Which of the following generator will have negligible terminal voltage while running on no-load ?

(a) Series generator

(b) Shunt generator

(c) Compound generator

(d) Separately excited generator

Ans: a

90. Which of the following D.C. generators will be in a position to build up without any residual magnetism in the poles ?

(a) Series generator

(b) Shunt generator

(c) Compound generator

(d) None of the above

Ans: d

91. In over compounded generator, full load terminal voltage is

(a) almost zero

(b) less than noload terminal voltage

(c) more than noload terminal voltage

(d) equal to no-load terminal voltage

Ans: c

92. In a level compounded D.C. generator, full load terminal voltage is

(a) negligibly low

(b) equal to no-load terminal voltage

(c) more than no-load terminal voltage

(d) less than no-load terminal voltage

Ans: b

93. The terminal voltage of a D.C. shunt generator drops on load because of all of the following reasons except

(a) armature reaction

(b) armature resistance drop

(c) field weakening due to armature reaction and armature

(d) commutation

Ans: d

94. In a D.C. generator

(a) external resistance = internal char-acteristic - armature reaction

(b) internal characteristic = magnetisation characteristic - ohmic drop

(c) external characteristic = magnetisation characteristic - ohmic drop - armature reaction

(d) magnetisation characteristic = external characteristic

Ans: c

95. A sinusoidal voltage of 5 Hz is applied to the field of a shunt generator. The armature voltage wave

(a) will be zero

(b) will be of 5 Hz

(c) willbeof5xiVHz

(d) will be of v Hz 5

Ans: b

96. A 220 V D.C. generator is run at full speed without any excitation. The open circuit voltage will be

(a) zero

(b) about 2 V

(c) about 50 V

(d) 220 V

Ans: b

97. In a separately excited generator supplying rated load the armature reaction ,

(a) is always present

(b) is always absent

(c) may be sometimes present

(d) none of the above

Ans: a

98. If residual magnetism is present in a D.C. generator, the induced e.m.f. at zero speed will be

(a) zero

(b) small

(c) the same as rated voltage

(d) high

Ans: a

99. Armature reaction in a generator results in

(a) demagnetisation of leading pole tip and magnetisation of trailing pole tip

(b) demagnetisation of trailing pole tip and magnetisation of leading pole tip

(c) damagnetising the centre of all poles

(d) magnetising the centre of all poles

Ans: a

100. Following energized winding of a D.C. machine should not be opened as it would produce high inductive voltage which may be dangerous to personnel and may cause its own insulation failure.

(a) Series field

(b) Compensating field

(c) Inter pole field

(d) Shunt field

Ans: d